Uses for our MS6115 Power Meters

- maximum power drawn while using an appliance. Watts Max

You can also measure cumulative power drawn in kWh. For example:

- measure daily power usage or operating cost of an appliance

- measure per-run power usage of an appliance (good for dishwashers, washing machines, etc)

- compare power usage for different operating modes of an appliance

- compare power usage of different appliances that have the same use

- check for phantom power drawn by appliances in standby mode

Instructions

Plug the power meter into the mains power, then plug the appliance into the power meter.

Press the FUNC key to toggle through the settings.

Settings on the Power Meter LCD display

Volt AC simply shows the Voltage currently being supplied.  The unit can handle from 200V to 276V.

Amp show the current being drawn at that instant.  It can handle up to 10A of current.

Watts shows the power being drawn by device you have plugged in at any given moment.

Watts max is a register which shows the maximum power drawn at any instant since you last reset that register.  Press and hold the FUNC key while in the Watts max function, to reset the register to zero.

kWh is a register which shows the total accumulated energy consumed since you last reset the register.  Press and hold the FUNC key within the kWh function, to reset the register to zero.

Total Price which is described as “On time Price”, multiplies the kWh consumed by the Price 1 or Price 2 tariffs depending on the time of day and day of week the power is drawn.  For this, the Clock must be set correctly (see below).

Price 1 and Price 2 menu functions allow you to set on/off times for various tariffs, and multiply by the power used at that time, to arrive at a total price for a given period.  It is possible to set 11 combinations of days (individual days from Monday..Sunday (7), Weekdays only, Monday through Saturday, Saturday and Sunday, Monday through Sunday).

Suppose you are paying a cheaper tariff at night from 10pm-6am, you might set Price 1 to be Monday through  Sunday 6am - 10pm, and Price 2 to be Monday through Sunday 10pm - 6am.  What you cannot do with this unit, is apply a rate based on consumption.

Setting the Price 1 and Price 2

Press FUNC to get to Volt or Current or Power functions.  Now press and hold the FUNC key for about 5 seconds.  Now press SET and then keep pressing UP.  Cycle through the values with UP.  Cycle through the options with SET, and press FUNC to exit.

Setting the Clock

To set the clock, press FUNC then press SET.  The days of the week should be flashing.  Repeatedly press UP to cycle through the days, then press SET to move onto setting the hours, and so on.  Press FUNC when finished.

Power Factor is the percentage of time the appliance is running over a given period of time – ignore this for our purposes

Taking measurements

Example of spreadsheet that you could create at home if you have only one tariff ie

| cost $/kWhr | $0.15 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Appliance | State | Power (W) | Hours per day | kWhrs per day | Cost per day $ | Cost per year |
|  | On/off/stdby | measured | estimate | W x Hours | kWhrs/day x 0.15 | Cost per day x 365 |
| TV | on | 125 | 2 | 125x2/1000 =0.25 | $0.04 | $13.69 |
| TV | standby | 7 | 22 | 7x22/1000 =0.154 | $0.02 | $8.43 |
| microwave | On |  |  |  |  |  |
| Microwave | Standby |  |  |  |  |  |
| etc |  |  |  |  |  |  |
| Total |  |  |  |  |  | $22.12 |

The Community centres will probably have a peak and an off-peak tariff for energy usage. The power meter can be programmed to calculate the costs of running an appliance by setting the Price 1 and Price 2 (see above instructions)